# VOLUME 5

# DESIGN DOCUMENTS, INCLUDING DRAWINGS

**Section 5.1**

**List of drawings attached**

|  |  |  |  |
| --- | --- | --- | --- |
| **No** | **Name** | **Drawing No** | **Design No** |
| 1. | Situation with geodetic points and elevations - scope limit (M= 1:200) | 01 | 04-53/2022 |
| 2. | Situation with a leveling solution (M= 1:200) | 02 | 04-53/2022 |
| 3. | Situation with horticultural and and parterre solution (M= 1:200) | 03 | 04-53/2022 |
| 4. | Base of the foundations (M= 1:75) | 1.1 | 04-53/2022 |
| 5. | Level basis 1 (M= 1:75) | 1.2 | 04-53/2022 |
| 6. | Level basis 2 (M= 1:75) | 1.3 | 04-53/2022 |
| 7. | Base of the fifth facade (M= 1:75) | 1.4 | 04-53/2022 |
| 8. | Cross section 1.1-1.1 (M= 1:75) | 1.5 | 04-53/2022 |
| 9. | Cross section 1.2-1.2 (M= 1:75)  (Floor description and wall description) | 1.6 | 04-53/2022 |
| 10. | Cross section 1.3-1.3 (M= 1:75)  (Southeast facade) | 1.7 | 04-53/2022 |
| 11. | Northwest facade (M= 1:75) | 1.8 | 04-53/2022 |
| 12. | Southwest facade (M= 1:75) | 1.9 | 04-53/2022 |
| 13. | Northeast facade (M= 1:75) | 1.10 | 04-53/2022 |
| 14. | Base of the foundations - Info pult / Kiosk and canopy (M= 1:75) | 2.1 | 04-53/2022 |
| 15. | Ground floor foundations - Info pult / Kiosk and canopy (M= 1:75)  (Description of walls and facade wall) | 2.2 | 04-53/2022 |
| 16. | Base of the fifth facade - Info pult / Kiosk and canopy (M= 1:75) | 2.3 | 04-53/2022 |
| 17. | Cross section 2.1-2.1, 2.2-2.2, 2.3-2.3 (M= 1:75) Info pult / Kiosk | 2.4 | 04-53/2022 |
| 18. | Grounds for landscaping (M= 1:75) | 5.1 | 04-53/2022 |
| 19. | Cross section 5.1-5.1 - Info pult / Kiosk and canopy (M= 1:75) | 5.2 | 04-53/2022 |
| 20. | Cross section 5.2-5.2 - Info pult / Kiosk and canopy (M= 1:75) | 5.3 | 04-53/2022 |
| 21. | Cross section 5.3-5.3 - Info pult / Kiosk and canopy (M= 1:75) | 5.4 | 04-53/2022 |
| 22. | Cross section 5.4-5.4 (M= 1:75) | 5.5 | 04-53/2022 |
| 23. | Detail of a wooden bench (M= 1:10) | 5.9 | 04-53/2022 |
| 24. | Basis of traffic infrastructure (M= 1:200) | 7.1 | 04-53/2022 |
| 25. | Cross section 7.1-7.1 & 7.2-7.2 (M= 1:75) | 7.2 | 04-53/2022 |
| 26. | Fence A (M= 1:75) | 7.3 | 04-53/2022 |
| 27. | Fence B (M= 1:75) | 7.4 | 04-53/2022 |
| 28. | Fence V (M= 1:75) | 7.5 | 04-53/2022 |
| 29. | Fence G, D, Ġ, E (M= 1:75) | 7.6 | 04-53/2022 |
| 30. | Position 1 - External portal made of aluminum profile | /. | 04-53/2022 |
| 31. | Position A - External portal made of aluminum profile | /. | 04-53/2022 |
| 32. | Аnchor detail (M= 1:10) | 01 | 04-53/2022 (construction/ arch. section) |
| 33. | Аnchor detail (M= 1:10) | 02 | 04-53/2022 (construction/ arch. section) |
| 34. | Аnchor detail (M= 1:10) | 03 | 04-53/2022 (construction/ arch. section) |
| 35. | Аnchor detail (M= 1:10) | 04 | 04-53/2022 (construction/ arch. section) |
| 36. | Situation - ground and street lighting (M= 1:200) | 00 | 04-53/2022 Electro-technical section |
| 37. | Base of the foundations - foundation earthing (M= 1:75) – Adrenalin track | 1.1 | 04-53/2022 Electro-technical section |
| 38. | Base of the foundations - foundation earthing (M= 1:75) – Info pult / Kiosk | 2.1 | 04-53/2022 Electro-technical section |
| 39. | Ground floor base - high-current and LAN installations (M= 1:75) – Info pult / Kiosk | 2.2 | 04-53/2022 Electro-technical section |
| 40. | Ground floor base – Fire protection installations (M= 1:75) – Info pult / Kiosk | 2.3 | 04-53/2022 Electro-technical section |
| 41. | Base of the fifth facade - lightning rod installation (M= 1:75) – Info pult / Kiosk | 2.4 | 04-53/2022 Electro-technical section |
| 42. | Base of the foundations - foundation earthing (M= 1:50) - Restaurant | 3.1 | 04-53/2022 Electro-technical section |
| 43. | Base of the restaurant - high-current and LAN installations (M= 1:50) - Restaurant | 3.2 | 04-53/2022 Electro-technical section |
| 44. | Base of the restaurant - Fire protection installations (M= 1:50) - Restaurant | 3.3 | 04-53/2022 Electro-technical section |
| 45. | Base of the fifth facade - lightning rod installation (M= 1:50) – Restaurant | 3.4 | 04-53/2022 Electro-technical section |
| 46. | Base of the foundations - foundation earthing (M= 1:75) - Garage | 4.1 | 04-53/2022 Electro-technical section |
| 47. | Single-pole GRT scheme (M= 1:75) | 5.1 | 04-53/2022 Electro-technical section |
| 48. | Single-pole RT scheme | 5.2 | 04-53/2022 Electro-technical section |
| 49. | Base of the foundations - foundation earthing (M= 1:75) – Restaurant awning | 6.1 | 04-53/2022 Electro-technical section |
| 50. | Base of the ground floor - high-current and LAN installations (M= 1:75) - Restaurant awning | 6.2 | 04-53/2022 Electro-technical section |
| 51. | Block diagram of fire protection | 07 | 04-53/2022 Electro-technical section |
| 52. | Connection details FeZn steel column strip | 08 | 04-53/2022 Electro-technical section |
| 53. | Detail of laying cables in the ground | /. | 04-53/2022 Electro-technical section |
| 54. | Parallel routing and crossing of EN cable with TC cable | /. | 04-53/2022 Electro-technical section |
| 55. | Detail of the intersection of a power cable with a grounding conductor from a lightning rod installation | /. | 04-53/2022 Electro-technical section |
| 56. | Detail of grounding on a pole | /. | 04-53/2022 Electro-technical section |
| 57. | Detail of cable markings for cables in trenches | /. | 04-53/2022 Electro-technical section |
| 58. | Situation with a leveling solution (M= 1:200) | 01 | 04-53/2022 Water & sewerage |
| 59. | Base of the ground floor – restaurant (M= 1:50) | 02 | 04-53/2022 Water & sewerage |
| 60. | Detail of sanitary facilities and kitchen – restaurant (M= 1:25) | 03 | 04-53/2022 Water & sewerage |
| 61. | Strang scheme for sanitary and fire-fighting plumbing (M= 1:100) | 04 | 04-53/2022 Water & sewerage |
| 62. | Strang sewage system scheme (M= 1:100) | 05 | 04-53/2022 Water & sewerage |
| 63. | Water meter shaft for connection pipe (M= 1:20) | 06 | 04-53/2022 Water & sewerage |
| 64. | Detal for water shaft – base (M= 1:25) | 07 | 04-53/2022 Water & sewerage |
| 65. | Faecal Pit - Basics and Sections (P= 1:50) | 08 | 04-53/2022 Water & sewerage |
| 66. | Sewer manhole type 1000 | 09 | 04-53/2022 Water & sewerage |

**Section 5.2**

**List of design documents available**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **No** | **Designer** | **Design No** | **Design name** | **Date** |
| 1. | TDPIGK “PARAMETAR” DOOEL export-import Skopje | 04-53/2022 | Basic design **“Construction of Adrenaline Park With Associated Facilities (Temporary Structures)”** | April 2022 |
| 2. | DGTU “NIMAER” DOOEL Struga | 03-129/2022 | Revision of the basic design **“Construction of Adrenaline Park With Associated Facilities (Temporary Structures)”** | April 2024 |
| 3. | Municipality of Kriva Palanka | 29-3372/5 | Construction permit | 11.07.2024 |
|  |  |  |  |  |

Drawings are available for inspection from [*date*] at the following address:

## Consultant:

## Person in charge: Marjan Aleksovski

**Tel.: +389 (0)70 699 441**

**Fax: +**

**E-mail:** [**maleksovski@krivapalanka.gov.mk**](mailto:maleksovski@krivapalanka.gov.mk)

Signature:

(*a person or persons authorised to sign on behalf of the tenderer*)

Date: